## Sheet1
GODAVARI GAS PRIVATE LIMITED
SCHEDULE OF RATES
SUBJECT: PROCUREMENT OF 12 NO’S 400 SCMH ELECTRIC MOTOR DRIVEN CNG BOOSTER COMPRESSOR ALONG WITH 5 YEARS OF AMC POST WARRANTY PERIOD
TENDER NO: GGPL/C&P/PR 1000013/2025-26/06
Name Of Bidder
Sl. No. | Description | Unit | Qty. | Unit Rate (Ex works price including packing and forwarding) (including all taxes & duties except GST) | Unit Inland transportation upto delivery location and other costs incidental to delivery of goods (including all taxes & duties except | GST on finished Good (5) |  | GST on inland transportation |  | Unit FOT site price and inland transportation (incl. all taxes, duties& GST) | Total FOT site price and inland transportation (incl. all taxes, duties& GST)
1 | 2 | 3 | 4 | 5 | 6 | 7(a) | 7(b) | 8(a) | 8(b) | 9=5+6+7(b)+8 (b) | 10=9*4
[6 empty] | % | Amt | % | Amt
1 | 400 SCMH ELECTRIC MOTOR DRIVEN CNG BOOSTER COMPRESSORS
1: 1.1; 2: Design, Engineering, Manufacturing, Supply (including packaging and forwarding, insurance, custom clearance, handling, loading and unloading at port and delivery & unloading at Client's store / site of skid mounted 22 KW electric motor driven hydraulic CNG Compressor Package of Average 400 SM3 / hr capacity (PLC based) with IOT at suction pressure of 30 kg/cm2and discharge pressure 220 / 255 kg/cm2 (variable suction pressure range 30 to 200 kg/cm2). The package shall be inclusive of: String test of complete compressor package with air/nitrogen along with electric motor and accessories at packagers' factory. Special tools & tackles Design, Engineering, Manufacturing, Supply (including packaging and forwarding, insurance, custom clearance, handling and unloading at port and delivery & unloading at Client's store/site of air compressor of capacity approx 1.5 kW (flame proof motor) , discharge pressure approx 10 kg/cm2g , min 100 water liter air receiver and air dryer along with all accessories, shed and auxiliaries as per technical volume of tender document complete in all respects including special tools & tackles with the list c)Installation, commissioning & Field performance test of Compressor Package including air compressor system at site. d) In case Booster Compressor(s) is delivered to stores due to non- readiness of site, loading,. Re-transportation from stores to unloading at site within the same city. Bidder has to consider all in his scope .; 3: Nos; 4: 12 | 0 | 0
2 | Lump sum operation, repair & comprehensive maintenance etc.
1: 2.1; 2: Lump sum Repair & Comprehensive Maintenance charges (excluding the scope covers under warrantee) per Compressor Package including air compressor For 1st year during warrantee period in all Geographical Areas of GGPL inclusive of all manpower, spare parts, lubricants and consumables, etc. including the Preventive Maintenance at regular interval by as per recommendation of OEM, Breakdown Maintenance as and when required for (5 packages X 12 Months) The quoted rate (for 1 Machine Month) for this item must be equal to or more than 0.40% (maximum 1.5%) of unit price (sl.no A1) quoted by the bidder.; 3: Machine Months; 4: 144 | 0 | 0
1: 2.2; 2: For 2nd Year The quoted rate (for 1 Machine Month) for this item must be equal to or more than 0.50% (maximum 1.5%) of unit price (sl.no A1) quoted by the bidder .; 3: Machine Months; 4: 144 | 0 | 0
1: 2.3; 2: For 3rd year The quoted rate (for 1 Machine Month) for this item must be equal to or more than 0.55% (maximum 1.5%) of unit price (sl.no A1) quoted by the bidder.; 3: Machine Months; 4: 144 | 0 | 0
1: 2.4; 2: For 4th Year The quoted rate (for 1 Machine Month) for this item must be equal to or more than 0.61% (maximum 1.5%) of unit price (sl.no A1) quoted by the bidder.; 3: Machine Months; 4: 144 | 0 | 0
1: 2.5; 2: For 5th Year The quoted rate (for 1 Machine Month) for this item must be equal to or more than 0.67% (maximum 1.5%) of unit price (sl.no A1) quoted by the bidder.; 3: Machine Months; 4: 144 | 0 | 0
1: GRAND TOTAL INCLUSIVE OF ALL TAXES AND DUTIES |  | 0
Note: 1. GGPL Intends to operate the booster compressors with out operator, ensuring package remains in good condition. Therefore, the bidder is required to supply booster compressors that are capable of autonomous operation without the need for operator intervention and bidder has to provide the login ID’s and its access to run and monitor the machine remotely. 2. Bidder has to supply the PLC based machine with Internet of Things (IoT) capabilities to access the data through cloud. Bidder has to consider all necessary requirements completely in his scope to run on the package on IoT system. 3. The Location wise quantities may vary considering project requirement.